|  | # Supporting Practical Science and Technology - in schools and colleges |
| --- | --- |

## Concerns over the quality and functionality of newly-built and refurbished school science facilities

CLEAPSS is increasingly concerned about the quality of newly built or refurbished accommodation and facilities for science.  Virtually every week CLEAPSS is contacted by a science teacher or technician describing a failure of new science facilities to live up to the promises made about them and even, in some cases, to equal those which have been replaced.

Among the reported problems are:

- Inadequate size of rooms

- Unhelpful layout of the science suite

- Labs designs which do not lend themselves to class practical work

- A reduction, from the traditional calculation, in the total number of labs provided

- Inadequate storage provision

- Inadequate ventilation arrangements

- Insufficiently robust furniture

Among examples to illustrate these concerns are:

- Cupboards in labs where doors are broken from their hinges within weeks of occupancy

- Inadequate, or no, locks on secure cupboards

- The prep room and main chemical store turning out to have been sited at opposite ends of a long corridor

- A large planned prep room being turned into a non-science classroom with a smaller room on the floor above the main science labs becoming designated as the prep room

- Labs with no provision for storing students coats and bags.

- Labs with the required number of gas taps crammed into one corner of the room because of a failure to understand how gas taps are used.

- Installing smoke detectors in labs

- Lights controlled by motion sensors so that a technician working at a bench for a period of time is plunged into darkness

Among the quoted reasons for these inadequacies are:

- A failure to consult adequately with science staff at the planning stage. Although general reassurances about the quality of facilities were given, they lacked detail. Once built, the facilities are often described as not meeting the needs of the department.

- Where consultation with science staff had taken place, the outcomes were not carried forward into the final build. Reasons such as a lack of money are described as having forced last- minute cuts in provision, but the potential impact of these cuts was not discussed with those who might have been able to offer some better alternatives.

- Architects or designers simply ignoring the needs of the science department, prioritising instead the architecture of the building. In one recent instance the architect/designer told the science technician staff they would have to get rid of lots of equipment stored in the prep room because the new prep room would not be as large as it needed to fit into the design of the building.

- An excess of zeal about new technologies. Examples quoted include automatic ventilation, including electronically controlled windows, so that the department is unable to ventilate rooms in response to the needs of practical activities. In other instances gas and electricity safety cut off systems were too complex and sensitive to meet the needs of school science labs.

- Poor laboratory and prep room design, such as labs with no provision for fume cupboards on the assumption that a mobile fume cupboard could be utilised. However there was no space to actually put such a device in labs nor to store it when not in use.

- Poor building practice, possible a consequence of decisions made by the contractor at the time of installation. In one instance this led to all the electricity sockets being wall mounted at a height with turned out to be just above the benches. The lack of space between the two meant plugs could not be put into the sockets.

At the heart of all of these issues is a lack of effective discussion and communication with science staff in schools. Decisions are taken by those with limited knowledge and understanding of the needs of the science curriculum. It can be argued that science staff may lack the vision to see what might be possible and so hang onto that which has worked well in the past. However, this is unlikely to be a sensible generalisation, and in any event no science teacher or technician will be indifferent to new ideas.  However, time is needed for such discussions, exploration and persuasion and time seems to be in short supply.

CLEAPSS is concerned that without the necessary time to consider proposals for science, schools will end up with facilities which do not promote or even allow the sort of high quality practical activities which, it is widely agreed, are an essential part of a rounded science education.  New facilities, once built, are going to be very hard to redevelop. There will be little further money for probably 25 years and little incentive for schools to commit routine funding to reworking facilities and spaces which have only recently been built.  The consequence may turn out to be a science department where the curriculum and its teaching are more determined by the building than by the needs and aspirations of students and staff. As the country works towards providing more scientifically and technologically literate, qualified and enthusiastic students, this cannot be a good thing.

CLEAPSS

November 2009